## Slide 1
EP215 Electronics Lab 1
Lecture 4
Review of Lab 3: I-V characteristics
and stray effects

## Slide 2
What is special about
the differential input test setup?
Input signal at these points
Must not refer to GND potential
Fig 1: Setup for Assignment 3
X
Function
Generator:
Sine wave
voltage
Use differential signal (rd/wht) on red cable from back of unit.
Part to
be tested
Rref = 1000 Ω
+
-
+
-
+
-
To DSO Channel 1abelled '1'
To DSO Channel labelled '2'
DSO
A
BX
BR
0
10MΩ
10MΩ
I
I
VX
VRref
IX = VRref
Rref

## Slide 3
What is special about
the differential input test setup?
If one leg of the signal is GND,
No current across Rref !
Fig 1: Setup for Assignment 3
X
Function
Generator:
Sine wave
voltage
Use differential signal (rd/wht) on red cable from back of unit.
Part to
be tested
Rref = 1000 Ω
+
-
+
-
+
-
To DSO Channel 1abelled '1'
To DSO Channel labelled '2'
DSO
A
BX
BR
0
10MΩ
10MΩ
I
I

## Slide 4
Lab 3: I-V characteristics
http://www.falstad.com/circuit/e-diodecurve.html

## Slide 5
Diode I-V at low frequency
PN junction
Forward Bias
Reverse Bias
Bound charge between
metal electrodes
→ Capacitor

## Slide 6
Diode I-V at low frequency
n=2;
VT = 25mV thermal voltage
In forward bias
Diode is modeled as:
rd

## Slide 7
Diode I-V at high frequency
Effective capacitance of the depletion layer becomes important at high frequency
rd
(Cj + Cd)
Note: in dimension:
time * current = charge
So C = Q/V makes sense

## Slide 8
Diode I-V at high frequency
rd
(Cj + Cd)
Different capacitance in Forward and Reverse bias:
I
V
V
I
1 kHz
10 kHz
Different transit times of charge across the depletion barrier
→ rd and (Cj+Cd) determine a time constant
→ As frequency of Vin changes, the time constant causes delayed response.

## Slide 9
Resistor I-V characteristics
Resistor as part X whose value is to be determined from slope of I/V assuming V=I*R
Function
Generator:
Sine wave
voltage
Use differential signal (rd/wht) on red cable from back of unit.
Runknown
Rref = 1000 Ω
+
-
+
-
+
-
To DSO Channel 1abelled '1'
To DSO Channel labelled '2'
DSO
A
BX
BR
I
I
This schematic works fine at low frequency when the resistor behaves like an ‘ideal’ resistor.

## Slide 10
In reality, there is a
‘hidden’ schematic behind every
device
Note: these are parasitic, frequency dependent
effective components of very small value.
So there is no infinite loop here!
See accompanying notes on ‘The Hidden Schematic’

## Slide 11
At high frequency, our test setup changes
Function
Generator:
Sine wave
voltage
Use differential signal (rd/wht) on red cable from back of unit.
Runknown
Rref = 1k Ω
+
-
+
-
+
-
To DSO Channel 1abelled '1'
To DSO Channel labelled '2'
DSO
All these parasitic component values are different

## Slide 12
What is the effect of parasitic components on I-V characteristic?
VR
What do V and I look like in the time domain?
t
IR
t
VL
t
IL
t
VC
t
IC
t
Resistor: VR=R*IR
L: VL=L*dIL /dt
Small L is in series,
so IL=IR linear
C: VL=C * ∫ I dt
C in parallel, gets very small I from IR

## Slide 13
What is the effect of parasitic components on I-V characteristic?
In our cool X-Y display format to get I-V characteristics:
I
V
VC
t
IC
t
Resistor: VR=R*IR
C: VL=C * ∫ I dt
C in parallel, gets very small I from IR
1/R

## Slide 14
What’s next?
Transistor
Bipolar junction transistor
Graduating from a two terminal device to a three terminal device
NPN transistor
Base-Emitter junction diode highlighted as ‘re’